## Tungsten
0.025mm foils | 10MeV | No attenuators | 1E3 events |  | 20MeV | No attenuators | 1E3 events |  |  | 30MeV | No attenuators | 1E3 events |  |  | 35MeV | No attenuators | 1E3 events
| 10 foils | Energy diff (MeV) |  |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 |  |  |  | 20.0001 | 0 |  | 624000000000 |  | 30.0001 | 2.106e-14 |  | 624000000000 |  | 35 | 1.5107e-14 |  | 624000000000
Foil 2 | 9.0823 | 0.9178 |  |  | 19.4387 | 0.054352 | 0.56143 | 624000000000 |  | 29.5845 | 0.04621 | 0.41562 | 624000000000 |  | 34.6309 | 0.04578 | 0.36906 | 624000000000
Foil 3 | 8.0926 | 0.98968 |  |  | 18.8658 | 0.07952 | 0.57285 | 624000000000 |  | 29.1597 | 0.066459 | 0.42474 | 624000000000 |  | 34.2547 | 0.066339 | 0.37618 | 624000000000
Foil 4 | 7.0195 | 1.0731 |  |  | 18.2794 | 0.099971 | 0.5864 | 624000000000 |  | 28.7308 | 0.081605 | 0.42891 | 624000000000 |  | 33.8764 | 0.082049 | 0.37833 | 624000000000
Foil 5 | 5.8278 | 1.1917 |  |  | 17.6786 | 0.11442 | 0.60079 | 624000000000 |  | 28.2978 | 0.09761 | 0.43306 | 624000000000 |  | 33.4968 | 0.097936 | 0.37958 | 624000000000
Foil 6 | 4.4503 | 1.3776 |  |  | 17.0633 | 0.12904 | 0.61536 | 624000000000 |  | 27.8595 | 0.1083 | 0.43825 | 623376000000 |  | 33.1137 | 0.10765 | 0.38306 | 623376000000
Foil 7 | 2.7255 | 1.7248 |  |  | 16.4287 | 0.14167 | 0.6346 | 623376000000 |  | 27.4154 | 0.11789 | 0.44408 | 622128000000 |  | 32.7266 | 0.11632 | 0.38714 | 622128000000
Foil 8 | 0.3759 | 2.3496 |  |  | 15.7767 | 0.15695 | 0.65193 | 623376000000 |  | 26.9666 | 0.12625 | 0.4488 | 622128000000 |  | 32.3367 | 0.1254 | 0.38992 | 622128000000
Foil 9 | 0 | 0.3759 |  |  | 15.1023 | 0.17227 | 0.67447 | 622128000000 |  | 26.5116 | 0.13889 | 0.45507 | 622128000000 |  | 31.9416 | 0.1373 | 0.39513 | 622128000000
Foil 10 | 0 |  |  |  | 14.4073 | 0.18692 | 0.69496 | 622128000000 |  | 26.0526 | 0.14847 | 0.45894 | 622128000000 |  | 31.544 | 0.14708 | 0.39755 | 622128000000
Mean energy diff (MeV) |  | 1.25 |  |  |  |  | 0.62142 |  |  |  |  | 0.43861 |  |  |  |  | 0.38399
[5 empty] | 20MeV | No attenuators | 1E6 events |  |  | 30MeV | No attenuators | 1E6 events |  |  | 35MeV | No attenuators | 1E6 events
[5 empty] | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 |  |  |  |  | 19.9995 | 2.4786e-13 |  | 624000000000 |  | 30 | 1.3665e-13 |  | 624000000000 |  | 34.9999 | 1.9843e-13 |  | 624000000000
Foil 2 |  |  |  |  | 19.4364 | 0.12475 | 0.56309 | 623872080000 |  | 29.5805 | 0.061692 | 0.41952 | 623819664000 |  | 34.6269 | 0.052169 | 0.37303 | 623815920000
Foil 3 |  | No improvements to be made |  |  | 18.8613 | 0.13323 | 0.57513 | 623694240000 |  | 29.156 | 0.075028 | 0.42448 | 623623104000 |  | 34.251 | 0.069302 | 0.37586 | 623618112000
Foil 4 |  | using attenuators |  |  | 18.2735 | 0.15285 | 0.58776 | 623560704000 |  | 28.7265 | 0.087577 | 0.42955 | 623445888000 |  | 33.8723 | 0.092518 | 0.37873 | 623439024000
Foil 5 |  |  |  |  | 17.6725 | 0.14537 | 0.60105 | 623409072000 |  | 28.2916 | 0.11749 | 0.43484 | 623253072000 |  | 33.4906 | 0.10594 | 0.38172 | 623241216000
Foil 6 |  |  |  |  | 17.0563 | 0.151 | 0.61621 | 623256816000 |  | 27.8516 | 0.11436 | 0.43998 | 623074608000 |  | 33.1056 | 0.11191 | 0.38496 | 623060256000
Foil 7 |  |  |  |  | 16.4231 | 0.17022 | 0.63315 | 623117040000 |  | 27.4065 | 0.12356 | 0.44513 | 622888032000 |  | 32.7173 | 0.12027 | 0.38828 | 622874304000
Foil 8 |  |  |  |  | 15.7715 | 0.18341 | 0.65165 | 623000352000 |  | 26.9564 | 0.13488 | 0.45009 | 622702704000 |  | 32.3256 | 0.13056 | 0.39175 | 622689600000
Foil 9 |  |  |  |  | 15.0991 | 0.20234 | 0.67237 | 622869312000 |  | 26.5013 | 0.14823 | 0.45513 | 622529232000 |  | 31.9299 | 0.14272 | 0.39572 | 622514880000
Foil 10 |  |  |  |  | 14.4047 | 0.21464 | 0.69442 | 622732656000 |  | 26.0415 | 0.15573 | 0.45979 | 622342032000 |  | 31.5302 | 0.15278 | 0.39963 | 622328928000
Mean energy diff (MeV) | [6 empty] | 0.62165 |  |  |  |  | 0.43984 |  |  |  |  | 0.38552
[15 empty] | 35MeV | 2 x 0.007 mm Cu attenuators between each W foil |  |  | 1E3 events
[15 empty] | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) | Energy exiting foil (MeV) | Energy attenuation in foil (MeV)
Foil 1 | [14 empty] | 35 | 1.5107e-14 |  | 624000000000 | 34.6293 | 0.37065
Foil 2 | [14 empty] | 34.4991 | 0.052635 | 0.50081 | 624000000000 | 34.12 | 0.37912
Foil 3 | [14 empty] | 33.9886 | 0.076891 | 0.51058 | 624000000000 | 33.6076 | 0.38093
Foil 4 | [14 empty] | 33.4725 | 0.092666 | 0.51604 | 624000000000 | 33.0865 | 0.38604
Foil 5 | [14 empty] | 32.9508 | 0.10866 | 0.52176 | 622128000000 | 32.559 | 0.39177
Foil 6 | [14 empty] | 32.4323 | 0.12226 | 0.51849 | 622128000000 | 32.0344 | 0.3979
Foil 7 | [14 empty] | 31.9062 | 0.13409 | 0.52604 | 622128000000 | 31.5015 | 0.40475
Foil 8 | [14 empty] | 31.3715 | 0.14685 | 0.53478 | 621504000000 | 30.9639 | 0.40752
Foil 9 | [14 empty] | 30.8338 | 0.15892 | 0.53761 | 621504000000 | 30.4171 | 0.4167
Foil 10 | [14 empty] | 30.2869 | 0.17111 | 0.54696 | 621504000000 | 29.8619 | 0.42496
Mean energy diff (MeV) | [16 empty] | 0.52367
[15 empty] | 35MeV | 2 x 0.007 mm Cu attenuators between each W foil |  |  | 1E6 events
[15 empty] | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) | Energy exiting foil (MeV) | Energy attenuation in foil (MeV)
Foil 1 | [14 empty] | 34.9999 | 1.0575e-13 |  | 624000000000 | 34.6262 | 0.37373
Foil 2 | [14 empty] | 34.4935 | 0.054786 | 0.50644 | 623714208000 | 34.1157 | 0.37773
Foil 3 | [14 empty] | 33.9818 | 0.07843 | 0.51169 | 623449008000 | 33.5997 | 0.38205
Foil 4 | [14 empty] | 33.4643 | 0.098838 | 0.51744 | 623168208000 | 33.0778 | 0.38654
Foil 5 | [14 empty] | 32.9411 | 0.11925 | 0.52328 | 622901760000 | 32.5496 | 0.39149
Foil 6 | [14 empty] | 32.4214 | 0.13523 | 0.5197 | 622639680000 | 32.0248 | 0.39657
Foil 7 | [14 empty] | 31.8952 | 0.14306 | 0.52618 | 622371360000 | 31.4931 | 0.40212
Foil 8 | [14 empty] | 31.3619 | 0.16016 | 0.53329 | 622094928000 | 30.9539 | 0.40804
Foil 9 | [14 empty] | 30.8214 | 0.17111 | 0.54051 | 621826608000 | 30.4068 | 0.41457
Foil 10 | [14 empty] | 30.2728 | 0.18597 | 0.54859 | 621570768000 | 29.8516 | 0.42123
Mean energy diff (MeV) | [16 empty] | 0.52524
0.003mm foils | 10MeV | No attenuators | 1E6 events |  |  | 20MeV | No attenuators | 1E6 events |  |  | 30MeV | No attenuators | 1E6 events |  |  | 35MeV | No attenuators | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) | Energy exiting foil (MeV) | Energy attenuation in foil (MeV)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000000000 |  | 20.0001 | 1.0975e-13 |  | 624000000000 |  | 30.0001 | 8.424e-14 |  | 624000000000 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.8943 | 0.017168 | 0.10573 | 623992512000 |  | 19.9342 | 0.016434 | 0.065938 | 623980032000 |  | 29.9506 | 0.016156 | 0.049565 | 623978160000 |  | 34.9558 | 0.016132 | 0.044119 | 623978160000
Foil 3 | 9.7879 | 0.024948 | 0.10647 | 623984400000 |  | 19.8681 | 0.023419 | 0.066019 | 623963184000 |  | 29.901 | 0.022854 | 0.049517 | 623956944000 |  | 34.9116 | 0.022825 | 0.04421 | 623956944000
Foil 4 | 9.6806 | 0.030922 | 0.10724 | 623975040000 |  | 19.802 | 0.028772 | 0.066183 | 623945712000 |  | 29.8514 | 0.028036 | 0.049591 | 623939472000 |  | 34.8674 | 0.027987 | 0.044263 | 623939472000
Foil 5 | 9.5726 | 0.035851 | 0.10799 | 623970048000 |  | 19.7356 | 0.033334 | 0.066329 | 623930112000 |  | 29.8018 | 0.032412 | 0.049633 | 623918256000 |  | 34.8231 | 0.032295 | 0.044291 | 623918256000 |  | COME BACK AND DO THIS
Foil 6 | 9.4639 | 0.040331 | 0.10877 | 623958192000 |  | 19.6691 | 0.037464 | 0.066532 | 623916384000 |  | 29.7521 | 0.036699 | 0.049738 | 623899536000 |  | 34.7787 | 0.036137 | 0.044361 | 623897664000
Foil 7 | 9.3543 | 0.045131 | 0.10956 | 623951328000 |  | 19.6024 | 0.041676 | 0.066681 | 623898288000 |  | 29.7023 | 0.040508 | 0.049769 | 623874576000 |  | 34.7343 | 0.039625 | 0.044366 | 623873952000
Foil 8 | 9.2439 | 0.048452 | 0.11038 | 623945088000 |  | 19.5356 | 0.0452 | 0.06681 | 623877696000 |  | 29.6525 | 0.043823 | 0.049809 | 623852112000 |  | 34.6899 | 0.042795 | 0.044405 | 623850240000
Foil 9 | 9.1327 | 0.053814 | 0.11124 | 623938224000 |  | 19.4686 | 0.048527 | 0.066989 | 623860224000 |  | 29.6026 | 0.046834 | 0.049894 | 623829648000 |  | 34.6455 | 0.045775 | 0.044478 | 623827776000
Foil 10 | 9.0206 | 0.054999 | 0.11209 | 623930736000 |  | 19.4015 | 0.05218 | 0.067161 | 623838384000 |  | 29.5526 | 0.049706 | 0.049981 | 623798448000 |  | 34.6009 | 0.048568 | 0.044539 | 623796576000
Mean energy diff (MeV) |  |  | 0.10883 |  |  |  |  | 0.066516 |  |  |  |  | 0.049722 |  |  |  |  | 0.044337
| 10MeV | 2 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 20MeV | 4 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 30MeV | 5 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 35MeV | 5 x 0.007mm Cu attenuators between each foil |  | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000000000 |  | 20.0001 | 1.0975e-13 |  | 624000000000 |  | 30.0001 | 8.424e-14 |  | 624000000000 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.5497 | 0.035335 | 0.45033 | 623930112000 |  | 19.5297 | 0.045591 | 0.47044 | 623790336000 |  | 29.5813 | 0.047781 | 0.41877 | 623736672000 |  | 34.6248 | 0.045651 | 0.37519 | 623756640000
Foil 3 | 9.0846 | 0.052017 | 0.46509 | 623870208000 |  | 19.0519 | 0.068535 | 0.47778 | 623582544000 |  | 29.1573 | 0.069093 | 0.42406 | 623495184000 |  | 34.2465 | 0.065055 | 0.37825 | 623525760000
Foil 4 | 8.6021 | 0.068279 | 0.48253 | 623804688000 |  | 18.5668 | 0.087857 | 0.4851 | 623376624000 |  | 28.7276 | 0.082098 | 0.4297 | 623227488000 |  | 33.865 | 0.080519 | 0.38153 | 623278656000
Foil 5 | 8.0982 | 0.079652 | 0.50393 | 623734176000 |  | 18.0738 | 0.10969 | 0.49298 | 623170080000 |  | 28.2921 | 0.09783 | 0.43547 | 622982880000 |  | 33.4846 | 0.092764 | 0.38038 | 623046528000
Foil 6 | 7.5686 | 0.094687 | 0.52956 | 623678016000 |  | 17.5717 | 0.12788 | 0.50206 | 622981632000 |  | 27.8508 | 0.11357 | 0.44132 | 622732656000 |  | 33.1024 | 0.10544 | 0.38225 | 622815648000
Foil 7 | 7.01 | 0.11114 | 0.55865 | 623619984000 |  | 17.0595 | 0.14123 | 0.51224 | 622788192000 |  | 27.4036 | 0.13082 | 0.44721 | 622486800000 |  | 32.7168 | 0.11788 | 0.38553 | 622579776000
Foil 8 | 6.4185 | 0.12726 | 0.59145 | 623575056000 |  | 16.535 | 0.15661 | 0.52451 | 622586016000 |  | 26.9505 | 0.15465 | 0.45312 | 622218480000 |  | 32.3277 | 0.13181 | 0.3891 | 622343904000
Foil 9 | 5.786 | 0.14745 | 0.63252 | 623512032000 |  | 15.9962 | 0.17269 | 0.53877 | 622399440000 |  | 26.4919 | 0.17597 | 0.45859 | 621970752000 |  | 31.9349 | 0.14366 | 0.39281 | 622083696000
Foil 10 | 5.1007 | 0.16626 | 0.68534 | 623400960000 |  | 15.4412 | 0.19395 | 0.55499 | 622191024000 |  | 26.0277 | 0.18854 | 0.46423 | 621712416000 |  | 31.538 | 0.15639 | 0.39689 | 621848448000
Mean energy diff (MeV) |  |  | 0.54438 |  |  |  |  | 0.50654 |  |  |  |  | 0.44138 |  |  |  |  | 0.38466
0.004mm foils | 10MeV | No attenuators | 1E6 events |  |  | 20MeV | No attenuators | 1E6 events |  |  | 30MeV | No attenuators | 1E6 events |  |  | 35MeV | No attenuators | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000000000 |  | 20.0001 | 1.0975e-13 |  | 624000000000 |  | 30.0001 | 8.424e-14 |  | 624000000000 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.8584 | 0.020164 | 0.14172 | 623989392000 |  | 19.9118 | 0.019282 | 0.088262 | 623976912000 |  | 29.9338 | 0.018922 | 0.066328 | 623970672000 |  | 34.9409 | 0.018855 | 0.05909 | 623970672000
Foil 3 | 9.7153 | 0.028483 | 0.14307 | 623981904000 |  | 19.8234 | 0.027528 | 0.088472 | 623950080000 |  | 29.8675 | 0.026758 | 0.066324 | 623943216000 |  | 34.8817 | 0.026667 | 0.059214 | 623943216000
Foil 4 | 9.5708 | 0.034999 | 0.14447 | 623971296000 |  | 19.7346 | 0.033813 | 0.08874 | 623928240000 |  | 29.801 | 0.032843 | 0.066446 | 623918256000 |  | 34.8224 | 0.032707 | 0.059292 | 623918256000
Foil 5 | 9.4249 | 0.041366 | 0.14588 | 623960688000 |  | 19.6456 | 0.039218 | 0.089031 | 623907024000 |  | 29.7345 | 0.037914 | 0.066551 | 623890176000 |  | 34.763 | 0.037745 | 0.059363 | 623887680000
Foil 6 | 9.2776 | 0.046184 | 0.14734 | 623951952000 |  | 19.5562 | 0.044205 | 0.089364 | 623880816000 |  | 29.6678 | 0.042451 | 0.066694 | 623859600000 |  | 34.7035 | 0.042239 | 0.059478 | 623856480000
Foil 7 | 9.1287 | 0.052024 | 0.1489 | 623941968000 |  | 19.4666 | 0.051407 | 0.08966 | 623855856000 |  | 29.601 | 0.046612 | 0.066801 | 623829648000 |  | 34.644 | 0.046326 | 0.059537 | 623827152000
Foil 8 | 8.9782 | 0.057146 | 0.15047 | 623932608000 |  | 19.3767 | 0.052694 | 0.089886 | 623829648000 |  | 29.5341 | 0.050402 | 0.066865 | 623791584000 |  | 34.5844 | 0.050066 | 0.059586 | 623787840000
Foil 9 | 8.826 | 0.063187 | 0.15219 | 623924496000 |  | 19.2864 | 0.056602 | 0.090259 | 623796576000 |  | 29.4671 | 0.053997 | 0.067017 | 623757264000 |  | 34.5247 | 0.053559 | 0.059685 | 623754768000
Foil 10 | 8.672 | 0.06588 | 0.15398 | 623916384000 |  | 19.1959 | 0.06028 | 0.090551 | 623770368000 |  | 29.4 | 0.057544 | 0.067138 | 623724816000 |  | 34.4649 | 0.056844 | 0.059776 | 623722320000
Mean energy diff (MeV) |  |  | 0.14756 |  |  |  |  | 0.089358 |  |  |  |  | 0.066685 |  |  |  |  | 0.059447
| 10MeV | 2 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 20MeV | 3 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 30MeV | 5 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 35MeV | 5 x 0.007mm Cu attenuators between each foil |  | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 3.5783e-14 |  | 624000000000 |  | 20.0001 | 1.0975e-13 |  | 624000000000 |  | 30.0001 | 8.424e-14 |  | 624000000000 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.5129 | 0.036665 | 0.48718 | 623925744000 |  | 19.6085 | 0.040979 | 0.39155 | 623840880000 |  | 29.5644 | 0.056738 | 0.43574 | 623729808000 |  | 34.6097 | 0.046664 | 0.39025 | 623748528000
Foil 3 | 9.0081 | 0.058639 | 0.50474 | 623865216000 |  | 19.212 | 0.068286 | 0.39654 | 623658672000 |  | 29.123 | 0.072209 | 0.44141 | 623475840000 |  | 34.2161 | 0.066521 | 0.3936 | 623510160000
Foil 4 | 8.4824 | 0.075094 | 0.52575 | 623794704000 |  | 18.8106 | 0.07237 | 0.40136 | 623506416000 |  | 28.6754 | 0.095023 | 0.44759 | 623205024000 |  | 33.819 | 0.082455 | 0.39713 | 623258064000
Foil 5 | 7.9307 | 0.084414 | 0.5517 | 623717328000 |  | 18.4043 | 0.091799 | 0.40639 | 623342928000 |  | 28.2217 | 0.10333 | 0.45368 | 622952928000 |  | 33.4236 | 0.097879 | 0.39538 | 623019072000
Foil 6 | 7.3479 | 0.10166 | 0.58285 | 623661168000 |  | 17.9926 | 0.10554 | 0.4117 | 623170080000 |  | 27.7617 | 0.11624 | 0.45998 | 622690224000 |  | 33.0252 | 0.11862 | 0.3984 | 622773840000
Foil 7 | 6.73 | 0.11974 | 0.61783 | 623598144000 |  | 17.5746 | 0.11906 | 0.41791 | 623020320000 |  | 27.2953 | 0.13964 | 0.46643 | 622434384000 |  | 32.6232 | 0.12477 | 0.40198 | 622540464000
Foil 8 | 6.0703 | 0.13889 | 0.6597 | 623539488000 |  | 17.1498 | 0.13231 | 0.42483 | 622864320000 |  | 26.8228 | 0.15348 | 0.47255 | 622156080000 |  | 32.2172 | 0.14321 | 0.40599 | 622282752000
Foil 9 | 5.3557 | 0.163 | 0.71459 | 623444640000 |  | 16.717 | 0.13869 | 0.43279 | 622702080000 |  | 26.3441 | 0.17662 | 0.47862 | 621899616000 |  | 31.8072 | 0.16468 | 0.41003 | 622025664000
Foil 10 | 4.5692 | 0.18959 | 0.78651 | 623273664000 |  | 16.2748 | 0.15589 | 0.44224 | 622546080000 |  | 25.8596 | 0.17315 | 0.48458 | 621638160000 |  | 31.3928 | 0.16363 | 0.41441 | 621781680000
Mean energy diff (MeV) |  |  | 0.60343 |  |  |  |  | 0.41392 |  |  |  |  | 0.46006 |  |  |  |  | 0.4008
0.005mm foils | 10MeV | No attenuators | 1E6 events |  |  | 20MeV | No attenuators | 1E6 events |  |  | 30MeV | No attenuators | 1E6 events |  |  | 35MeV | No attenuators | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000000000 |  | 20.0001 | 1.0975e-13 |  | 624000000000 |  | 30.0001 | 8.424e-14 |  | ﻿624000000000.0 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.8223 | 0.02223 | 0.17779 | 623985024000 |  | 19.8895 | 0.021372 | 0.11057 | 623968176000 |  | 29.917 | 0.021271 | 0.083089 | 623963808000 |  | 34.9259 | 0.021291 | 0.074061 | 623963808000
Foil 3 | 9.6423 | 0.03177 | 0.17996 | 623971296000 |  | 19.7786 | 0.031293 | 0.11098 | 623940720000 |  | 29.8339 | 0.030092 | 0.083156 | 623930736000 |  | 34.8517 | 0.030118 | 0.074228 | 623930112000
Foil 4 | 9.4601 | 0.039438 | 0.1822 | 623959440000 |  | 19.6672 | 0.040408 | 0.1114 | 623917008000 |  | 29.7505 | 0.036938 | 0.083343 | 623898288000 |  | 34.7773 | 0.036943 | 0.074359 | 623897664000
Foil 5 | 9.2756 | 0.046889 | 0.18451 | 623948832000 |  | 19.5553 | 0.044674 | 0.11187 | 623882688000 |  | 29.667 | 0.049033 | 0.08353 | 623857728000 |  | 34.7029 | 0.042631 | 0.074458 | 623856480000
Foil 6 | 9.0887 | 0.052892 | 0.18694 | 623936976000 |  | 19.4429 | 0.050221 | 0.11236 | 623850240000 |  | 29.5832 | 0.058152 | 0.083754 | 623820912000 |  | 34.6282 | 0.04772 | 0.074636 | 623815920000
Foil 7 | 8.8991 | 0.060861 | 0.18956 | 623926992000 |  | 19.3301 | 0.056723 | 0.11283 | 623817168000 |  | 29.4994 | 0.062445 | 0.083883 | 623774112000 |  | 34.5535 | 0.052371 | 0.074733 | 623770368000
Foil 8 | 8.7068 | 0.065134 | 0.19227 | 623918880000 |  | 19.2168 | 0.05804 | 0.11326 | 623779728000 |  | 29.4153 | 0.066734 | 0.084016 | 623731056000 |  | 34.4787 | 0.056585 | 0.074819 | 623728560000
Foil 9 | 8.5116 | 0.073157 | 0.19528 | 623910768000 |  | 19.103 | 0.06222 | 0.1138 | 623746032000 |  | 29.3311 | 0.071009 | 0.084254 | 623692368000 |  | 34.4037 | 0.060563 | 0.074982 | 623689872000
Foil 10 | 8.3132 | 0.080131 | 0.19837 | 623897040000 |  | 18.9888 | 0.066266 | 0.11427 | 623710464000 |  | 29.2467 | 0.075132 | 0.084419 | 623659920000 |  | 34.3286 | 0.064284 | 0.075115 | 623656800000
Mean energy diff (MeV) |  |  | 0.18743 |  |  |  |  | 0.11237 |  |  |  |  | 0.083716 |  |  |  |  | 0.074599
| 10MeV | 2 x 0.01mm Al attenuators between each foil |  | 1E6 events |  | 20MeV | 3 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 30MeV | 5 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 35MeV | 5 x 0.007mm Cu attenuators between each foil |  | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 2.0457e-13 |  | 624000000000 |  | 20.0001 | 1.0975e-13 |  | 624000000000 |  | 30.0001 | 8.424e-14 |  | 624000000000 |  | 35 | 1.0547e-13 |  | 624000000000
Foil 2 | 9.4778 | 0.031158 | 0.52231 | 623935728000 |  | 19.586 | 0.04987 | 0.41413 | 623834016000 |  | 29.5475 | 0.050176 | 0.45265 | 623723568000 |  | 34.5946 | 0.047762 | 0.40532 | 623737296000
Foil 3 | 8.9341 | 0.053173 | 0.54366 | 623879568000 |  | 19.1663 | 0.06965 | 0.41967 | 623648064000 |  | 29.0886 | 0.075381 | 0.45883 | 623462112000 |  | 34.1857 | 0.068252 | 0.40896 | 623495184000
Foil 4 | 8.3649 | 0.064337 | 0.56921 | 623814672000 |  | 18.7411 | 0.080701 | 0.42519 | 623483952000 |  | 28.6232 | 0.093793 | 0.46541 | 623182560000 |  | 33.7729 | 0.084698 | 0.41277 | 623226240000
Foil 5 | 7.765 | 0.072352 | 0.59986 | 623742288000 |  | 18.3102 | 0.10218 | 0.43095 | 623313600000 |  | 28.1513 | 0.10217 | 0.47197 | 622925472000 |  | 33.3619 | 0.10059 | 0.41101 | 622983504000
Foil 6 | 7.1283 | 0.081586 | 0.63673 | 623662416000 |  | 17.8731 | 0.1086 | 0.43708 | 623139504000 |  | 27.6724 | 0.12398 | 0.47883 | 622653408000 |  | 32.9473 | 0.12325 | 0.41463 | 622732656000
Foil 7 | 6.4491 | 0.094367 | 0.67915 | 623608128000 |  | 17.4287 | 0.12908 | 0.44437 | 622988496000 |  | 27.1869 | 0.13873 | 0.48556 | 622391328000 |  | 32.5288 | 0.13279 | 0.4185 | 622485552000
Foil 8 | 5.7142 | 0.10854 | 0.73499 | 623551968000 |  | 16.9761 | 0.14716 | 0.45262 | 622822512000 |  | 26.6947 | 0.14563 | 0.49219 | 622100544000 |  | 32.1059 | 0.14784 | 0.42286 | 622215360000
Foil 9 | 4.9063 | 0.11981 | 0.80788 | 623489568000 |  | 16.5142 | 0.15217 | 0.4619 | 622653408000 |  | 26.196 | 0.16574 | 0.49871 | 621832848000 |  | 31.6787 | 0.15048 | 0.42723 | 621967632000
Foil 10 | 3.9968 | 0.13261 | 0.90943 | 623425920000 |  | 16.0411 | 0.16618 | 0.47307 | 622480560000 |  | 25.6906 | 0.17819 | 0.50532 | 621570768000 |  | 31.2463 | 0.16738 | 0.43239 | 621709296000
Mean energy diff (MeV) |  |  | 0.66703 |  |  |  |  | 0.43989 |  |  |  |  | 0.47883 |  |  |  |  | 0.41707
0.006mm foils | 10MeV | No attenuators | 1E6 events |  |  | 20MeV | No attenuators | 1E6 events |  |  | 30MeV | No attenuators | 1E6 events |  |  | 35MeV | No attenuators | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000000000 |  | 20.0001 | 1.0975e-13 |  | 624000000000 |  | 30.0001 | 8.424e-14 |  | 624000000000 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.7861 | 0.024393 | 0.21395 | 623983152000 |  | 19.8672 | 0.023458 | 0.13289 | 623963184000 |  | 29.9002 | 0.023222 | 0.099882 | 623956944000 |  | 34.9109 | 0.023324 | 0.089028 | 623956320000
Foil 3 | 9.569 | 0.036949 | 0.21714 | 623967552000 |  | 19.7337 | 0.03466 | 0.13351 | 623929488000 |  | 29.8002 | 0.032897 | 0.10003 | 623918256000 |  | 34.8217 | 0.032996 | 0.089257 | 623917632000
Foil 4 | 9.3485 | 0.046893 | 0.22045 | 623951952000 |  | 19.5995 | 0.045684 | 0.13415 | 623897664000 |  | 29.6999 | 0.040348 | 0.10026 | 623873952000 |  | 34.7322 | 0.040491 | 0.089446 | 623872080000
Foil 5 | 9.1246 | 0.05618 | 0.22392 | 623941344000 |  | 19.4647 | 0.056668 | 0.13484 | 623855232000 |  | 29.5995 | 0.046644 | 0.10049 | 623828400000 |  | 34.6426 | 0.046743 | 0.089596 | 623825904000
Foil 6 | 8.897 | 0.064074 | 0.22761 | 623928240000 |  | 19.3292 | 0.054548 | 0.13549 | 623815296000 |  | 29.4987 | 0.052252 | 0.1008 | 623772240000 |  | 34.5528 | 0.052362 | 0.089854 | 623769120000
Foil 7 | 8.6654 | 0.071406 | 0.2316 | 623919504000 |  | 19.193 | 0.060077 | 0.13619 | 623770368000 |  | 29.3976 | 0.057326 | 0.10104 | 623724192000 |  | 34.4628 | 0.057457 | 0.090001 | 623720448000
Foil 8 | 8.4294 | 0.079871 | 0.23597 | 623908272000 |  | 19.0561 | 0.065672 | 0.13689 | 623726688000 |  | 29.2963 | 0.062047 | 0.10127 | 623674272000 |  | 34.3727 | 0.062104 | 0.090111 | 623670528000
Foil 9 | 8.1888 | 0.088425 | 0.24059 | 623893296000 |  | 18.9185 | 0.071163 | 0.13763 | 623692992000 |  | 29.1948 | 0.066798 | 0.10158 | 623643072000 |  | 34.2823 | 0.066435 | 0.090355 | 623638704000
Foil 10 | 7.9433 | 0.096117 | 0.24557 | 623879568000 |  | 18.7801 | 0.076963 | 0.13837 | 623655552000 |  | 29.0929 | 0.071013 | 0.10183 | 623594400000 |  | 34.1918 | 0.070536 | 0.090527 | 623591280000
Mean energy diff (MeV) |  |  | 0.22853 |  |  |  |  | 0.13555 |  |  |  |  | 0.1008 |  |  |  |  | 0.089797
| 10MeV | 1 x 0.007mm Cu attenuator between each foil |  | 1E6 events |  | 20MeV | 3 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 30MeV | 5 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 35MeV | 5 x 0.007mm Cu attenuators between each foil |  | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000000000 |  | 20.0001 | 5.6583e-13 |  | 624000000000 |  | 30.0001 | 8.424e-14 |  | 624000000000 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.6139 | 0.031346 | 0.38619 | 623952576000 |  | 19.5634 | 0.050824 | 0.43665 | 623829024000 |  | 29.5305 | 0.054346 | 0.46966 | 623712960000 |  | 34.5796 | 0.048732 | 0.42038 | 623729808000
Foil 3 | 9.2176 | 0.052658 | 0.3963 | 623914512000 |  | 19.1206 | 0.068107 | 0.44283 | 623641824000 |  | 29.0543 | 0.069562 | 0.47618 | 623446512000 |  | 34.1552 | 0.082813 | 0.42436 | 623477712000
Foil 4 | 8.8095 | 0.06125 | 0.40809 | 623873328000 |  | 18.6714 | 0.08732 | 0.44916 | 623473344000 |  | 28.5709 | 0.08767 | 0.48333 | 623160096000 |  | 33.7269 | 0.086242 | 0.42831 | 623205024000
Foil 5 | 8.3873 | 0.073861 | 0.42215 | 623828400000 |  | 18.2159 | 0.096645 | 0.45554 | 623291136000 |  | 28.0805 | 0.10858 | 0.49043 | 622898016000 |  | 33.3 | 0.1084 | 0.42688 | 622956048000
Foil 6 | 7.9484 | 0.087005 | 0.43893 | 623790960000 |  | 17.7531 | 0.116 | 0.46284 | 623117664000 |  | 27.583 | 0.12344 | 0.49755 | 622622208000 |  | 32.8692 | 0.12123 | 0.43081 | 622695216000
Foil 7 | 7.4904 | 0.10091 | 0.45802 | 623746656000 |  | 17.2819 | 0.13419 | 0.47116 | 622961664000 |  | 27.0781 | 0.13329 | 0.50486 | 622347648000 |  | 32.434 | 0.133 | 0.43519 | 622438128000
Foil 8 | 7.0117 | 0.11748 | 0.47873 | 623702976000 |  | 16.8011 | 0.1531 | 0.48084 | 622793184000 |  | 26.5661 | 0.15216 | 0.51201 | 622054992000 |  | 31.9942 | 0.15331 | 0.43987 | 622162320000
Foil 9 | 6.5107 | 0.13138 | 0.50098 | 623662416000 |  | 16.3092 | 0.16214 | 0.49182 | 622612224000 |  | 26.0472 | 0.17158 | 0.51887 | 621789168000 |  | 31.5495 | 0.15447 | 0.44471 | 621902736000
Foil 10 | 5.982 | 0.14903 | 0.52867 | 623604384000 |  | 15.8046 | 0.17129 | 0.50465 | 622441248000 |  | 25.5211 | 0.18632 | 0.52616 | 621513984000 |  | 31.0992 | 0.17388 | 0.45028 | 621646896000
Mean energy diff (MeV) |  |  | 0.44645 |  |  |  |  | 0.46617 |  |  |  |  | 0.49767 |  |  |  |  | 0.43342
0.007mm foils | 10MeV | No attenuators | 1E6 events |  |  | 20MeV | No attenuators | 1E6 events |  |  | 30MeV | No attenuators | 1E6 events |  |  | 35MeV | No attenuators | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000000000 |  | 20.0001 | 2.5387e-13 |  | 624000000000 |  | 30.0001 | 8.424e-14 |  | 624000000000 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.7499 | 0.029296 | 0.2502 | 623978784000 |  | 19.8449 | 0.025391 | 0.1552 | 623955072000 |  | 29.8835 | 0.025094 | 0.11665 | 623948832000 |  | 34.8959 | 0.025114 | 0.10403 | 623948208000
Foil 3 | 9.4953 | 0.042294 | 0.25457 | 623958816000 |  | 19.6888 | 0.037623 | 0.15607 | 623916384000 |  | 29.7666 | 0.044556 | 0.11692 | 623905152000 |  | 34.7916 | 0.035566 | 0.10432 | 623903904000
Foil 4 | 9.2361 | 0.053359 | 0.25917 | 623945088000 |  | 19.5319 | 0.046165 | 0.15693 | 623873952000 |  | 29.6493 | 0.052 | 0.11721 | 623850864000 |  | 34.6871 | 0.04361 | 0.10453 | 623847744000
Foil 5 | 8.972 | 0.062359 | 0.26414 | 623928864000 |  | 19.374 | 0.060239 | 0.15792 | 623830272000 |  | 29.5318 | 0.058682 | 0.11755 | 623790336000 |  | 34.5823 | 0.050408 | 0.10475 | 623785968000
Foil 6 | 8.7025 | 0.070653 | 0.26948 | 623915760000 |  | 19.2151 | 0.058626 | 0.15881 | 623773488000 |  | 29.4139 | 0.064943 | 0.11793 | 623729808000 |  | 34.4773 | 0.056505 | 0.10505 | 623726688000
Foil 7 | 8.4272 | 0.079953 | 0.27533 | 623905152000 |  | 19.0553 | 0.069642 | 0.15981 | 623724192000 |  | 29.2956 | 0.070946 | 0.11827 | 623674272000 |  | 34.372 | 0.06201 | 0.10526 | 623670528000
Foil 8 | 8.1455 | 0.089846 | 0.28168 | 623890176000 |  | 18.8946 | 0.069696 | 0.16071 | 623678640000 |  | 29.177 | 0.077125 | 0.1186 | 623631216000 |  | 34.2665 | 0.067164 | 0.10549 | 623628096000
Foil 9 | 7.8571 | 0.098458 | 0.28844 | 623877696000 |  | 18.7329 | 0.07565 | 0.16177 | 623642448000 |  | 29.058 | 0.082963 | 0.11901 | 623578800000 |  | 34.1607 | 0.071708 | 0.10578 | 623574432000
Foil 10 | 7.5613 | 0.10902 | 0.29574 | 623860848000 |  | 18.57 | 0.081386 | 0.16283 | 623599392000 |  | 28.9387 | 0.076488 | 0.11931 | 623530752000 |  | 34.0547 | 0.076158 | 0.10601 | 623527632000
Mean energy diff (MeV) |  |  | 0.27097 |  |  |  |  | 0.1589 |  |  |  |  | 0.11794 |  |  |  |  | 0.10503
| 10MeV | 1 x 0.007mm Cu attenuator between each foil |  | 1E6 events |  | 20MeV | 3 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 30MeV | 5 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 35MeV | 5 x 0.007mm Cu attenuators between each foil |  | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000000000 |  | 20.0001 | 6.4125e-14 |  | 624000000000 |  | 30.0001 | 8.424e-14 |  | 624000000000 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.5772 | 0.03548 | 0.42284 | 623948832000 |  | 19.5409 | 0.046526 | 0.45921 | 623822784000 |  | 29.5135 | 0.051326 | 0.48662 | 623706720000 |  | 34.5644 | 0.049649 | 0.43552 | 623723568000
Foil 3 | 9.142 | 0.053062 | 0.43521 | 623907024000 |  | 19.0748 | 0.065103 | 0.46604 | 623631840000 |  | 29.0198 | 0.07154 | 0.49365 | 623433408000 |  | 34.1247 | 0.071082 | 0.43971 | 623459616000
Foil 4 | 8.6922 | 0.067849 | 0.44978 | 623867712000 |  | 18.6017 | 0.092648 | 0.47313 | 623454000000 |  | 28.5186 | 0.090836 | 0.50125 | 623137008000 |  | 33.6809 | 0.08819 | 0.44386 | 623181312000
Foil 5 | 8.2247 | 0.080392 | 0.4675 | 623822160000 |  | 18.1213 | 0.10351 | 0.48041 | 623268048000 |  | 28.0097 | 0.11129 | 0.50885 | 622864944000 |  | 33.238 | 0.10476 | 0.44284 | 622926720000
Foil 6 | 7.7363 | 0.096461 | 0.48846 | 623781600000 |  | 17.6326 | 0.11652 | 0.48864 | 623087088000 |  | 27.4933 | 0.13038 | 0.51649 | 622582896000 |  | 32.7909 | 0.11962 | 0.44709 | 622655904000
Foil 7 | 7.2242 | 0.11198 | 0.51205 | 623730432000 |  | 17.1343 | 0.13143 | 0.49835 | 622916112000 |  | 26.969 | 0.13781 | 0.52423 | 622303968000 |  | 32.3389 | 0.14018 | 0.452 | 622399440000
Foil 8 | 6.6868 | 0.12875 | 0.53744 | 623681136000 |  | 16.6256 | 0.15118 | 0.50868 | 622742016000 |  | 26.4371 | 0.16347 | 0.53191 | 622005696000 |  | 31.882 | 0.15576 | 0.45694 | 622110528000
Foil 9 | 6.1191 | 0.14607 | 0.56765 | 623621856000 |  | 16.1041 | 0.16349 | 0.52152 | 622562928000 |  | 25.898 | 0.17324 | 0.53915 | 621723648000 |  | 31.4197 | 0.17038 | 0.46232 | 621844080000
Foil 10 | 5.5125 | 0.16615 | 0.60668 | 623531376000 |  | 15.5675 | 0.17018 | 0.53662 | 622386960000 |  | 25.3507 | 0.1935 | 0.54724 | 621447840000 |  | 30.9514 | 0.1835 | 0.46827 | 621571392000
Mean energy diff (MeV) |  |  | 0.49862 |  |  |  |  | 0.49251 |  |  |  |  | 0.5166 |  |  |  |  | 0.44984
0.008mm foils | 10MeV | No attenuators | 1E6 events |  |  | 20MeV | No attenuators | 1E6 events |  |  | 30MeV | No attenuators | 1E6 events |  |  | 35MeV | No attenuators | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000000000 |  | 20.0001 | 1.0975e-13 |  | 624000000000 |  | 30.0001 | 8.424e-14 |  | ﻿624000000000.0 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.7135 | 0.031353 | 0.28654 | 623975664000 |  | 19.8225 | 0.032123 | 0.17756 | 623950704000 |  | 29.8667 | 0.026837 | 0.13341 | 623943216000 |  | 34.881 | 0.026858 | 0.119 | 623943216000
Foil 3 | 9.4212 | 0.046745 | 0.29233 | 623955072000 |  | 19.6439 | 0.04119 | 0.17866 | 623905776000 |  | 29.7329 | 0.038034 | 0.13376 | 623888928000 |  | 34.7616 | 0.038039 | 0.11937 | 623887680000
Foil 4 | 9.1227 | 0.057362 | 0.29848 | 623939472000 |  | 19.4641 | 0.05063 | 0.17982 | 623852736000 |  | 29.5987 | 0.046685 | 0.1342 | 623827152000 |  | 34.6419 | 0.046654 | 0.11966 | 623825904000
Foil 5 | 8.8175 | 0.067887 | 0.30526 | 623925744000 |  | 19.283 | 0.060298 | 0.18109 | 623794080000 |  | 29.4641 | 0.05399 | 0.13463 | 623756016000 |  | 34.522 | 0.053933 | 0.11995 | 623754768000
Foil 6 | 8.5049 | 0.076913 | 0.31259 | 623911392000 |  | 19.1007 | 0.065009 | 0.18231 | 623739168000 |  | 29.329 | 0.060523 | 0.13512 | 623691120000 |  | 34.4017 | 0.060433 | 0.12031 | 623688624000
Foil 7 | 8.1842 | 0.088947 | 0.32069 | 623892048000 |  | 18.9171 | 0.075999 | 0.18361 | 623689248000 |  | 29.1934 | 0.066453 | 0.13559 | 623642448000 |  | 34.281 | 0.066361 | 0.12062 | 623638080000
Foil 8 | 7.8547 | 0.099538 | 0.32951 | 623881440000 |  | 18.7322 | 0.076065 | 0.18486 | 623646816000 |  | 29.0574 | 0.071939 | 0.13601 | 623578800000 |  | 34.1601 | 0.07185 | 0.12091 | 623575680000
Foil 9 | 7.5157 | 0.10997 | 0.33896 | 623858352000 |  | 18.5459 | 0.082666 | 0.18629 | 623598144000 |  | 28.9208 | 0.077096 | 0.13655 | 623525136000 |  | 34.0388 | 0.077043 | 0.12128 | 623521392000
Foil 10 | 7.1667 | 0.12277 | 0.34901 | 623840256000 |  | 18.3581 | 0.089967 | 0.18781 | 623552592000 |  | 28.7838 | 0.081949 | 0.13704 | 623463360000 |  | 33.9173 | 0.081942 | 0.12159 | 623457744000
Mean energy diff (MeV) |  |  | 0.31482 |  |  |  |  | 0.18244 |  |  |  |  | 0.13515 |  |  |  |  | 0.1203
| 10MeV | 1 x 0.007mm Cu attenuator between each foil |  | 1E6 events |  | 20MeV | 3 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 30MeV | 4 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 35MeV | 5 x 0.007mm Cu attenuators between each foil |  | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000000000 |  | 20.0001 | 1.4562e-13 |  | 624000000000 |  | 30.0001 | 1.8447e-13 |  | 624000000000 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.5405 | 0.037283 | 0.45958 | 623946960000 |  | 19.5183 | 0.053589 | 0.48176 | 623814048000 |  | 29.5689 | 0.052174 | 0.43116 | 623748528000 |  | 34.5494 | 0.05058 | 0.4506 | 623712960000
Foil 3 | 9.0661 | 0.055062 | 0.47444 | 623900784000 |  | 19.029 | 0.071672 | 0.48928 | 623616240000 |  | 29.135 | 0.070289 | 0.43388 | 623509536000 |  | 34.0943 | 0.07249 | 0.4551 | 623447136000
Foil 4 | 8.5738 | 0.071992 | 0.49227 | 623857728000 |  | 18.5319 | 0.083934 | 0.4971 | 623434032000 |  | 28.6953 | 0.082361 | 0.43978 | 623257440000 |  | 33.6352 | 0.089369 | 0.45911 | 623158848000
Foil 5 | 8.0597 | 0.08665 | 0.51407 | 623810928000 |  | 18.0263 | 0.10688 | 0.50566 | 623244336000 |  | 28.2495 | 0.10056 | 0.44581 | 623019072000 |  | 33.1763 | 0.10629 | 0.45882 | 622896144000
Foil 6 | 7.52 | 0.10399 | 0.53969 | 623772240000 |  | 17.5118 | 0.12002 | 0.51448 | 623054640000 |  | 27.7976 | 0.11359 | 0.45185 | 622771344000 |  | 32.7129 | 0.11976 | 0.46342 | 622621584000
Foil 7 | 6.952 | 0.11884 | 0.56801 | 623719824000 |  | 16.9867 | 0.13099 | 0.52513 | 622883664000 |  | 27.3395 | 0.13489 | 0.45807 | 622539840000 |  | 32.2442 | 0.1349 | 0.46868 | 622348896000
Foil 8 | 6.352 | 0.13721 | 0.60006 | 623660544000 |  | 16.4488 | 0.14521 | 0.53788 | 622694592000 |  | 26.8756 | 0.13967 | 0.46391 | 622288368000 |  | 31.7701 | 0.154 | 0.47418 | 622051248000
Foil 9 | 5.7104 | 0.16015 | 0.6416 | 623590656000 |  | 15.8958 | 0.15868 | 0.55299 | 622518000000 |  | 26.4059 | 0.15685 | 0.46973 | 622016304000 |  | 31.2901 | 0.17381 | 0.47998 | 621786672000
Foil 10 | 5.0157 | 0.18435 | 0.69469 | 623474592000 |  | 15.3252 | 0.17506 | 0.57057 | 622342656000 |  | 25.9302 | 0.17012 | 0.47571 | 621783552000 |  | 30.8037 | 0.18117 | 0.48638 | 621508368000
Mean energy diff (MeV) |  |  | 0.55382 |  |  |  |  | 0.51943 |  |  |  |  | 0.45221 |  |  |  |  | 0.46625
0.009mm foils | 10MeV | No attenuators | 1E6 events |  |  | 20MeV | No attenuators | 1E6 events |  |  | 30MeV | No attenuators | 1E6 events |  |  | 35MeV | No attenuators | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000000000 |  | 20.0001 | 1.1553e-13 |  | 624000000000 |  | 30.0001 | 8.424e-14 |  | 624000000000 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.6771 | 0.037017 | 0.32299 | 623971296000 |  | 19.8002 | 0.02912 | 0.19987 | 623943840000 |  | 29.8499 | 0.028478 | 0.15018 | 623939472000 |  | 34.866 | 0.028496 | 0.13398 | 623938848000
Foil 3 | 9.3467 | 0.048932 | 0.33037 | 623948832000 |  | 19.5982 | 0.043978 | 0.20198 | 623894544000 |  | 29.6993 | 0.040363 | 0.15065 | 623873952000 |  | 34.7316 | 0.040367 | 0.13443 | 623872080000
Foil 4 | 9.0083 | 0.060689 | 0.33837 | 623927616000 |  | 19.3946 | 0.054336 | 0.20362 | 623835264000 |  | 29.5481 | 0.049548 | 0.15123 | 623795952000 |  | 34.5967 | 0.04953 | 0.13481 | 623794080000
Foil 5 | 8.6611 | 0.072477 | 0.34725 | 623910768000 |  | 19.1894 | 0.064838 | 0.20528 | 623766624000 |  | 29.3963 | 0.057315 | 0.15177 | 623724816000 |  | 34.4616 | 0.057267 | 0.13518 | 623719200000
Foil 6 | 8.3041 | 0.084281 | 0.35702 | 623891424000 |  | 18.9825 | 0.071927 | 0.20685 | 623706096000 |  | 29.2439 | 0.064249 | 0.15239 | 623658048000 |  | 34.3259 | 0.064163 | 0.13562 | 623655552000
Foil 7 | 7.9363 | 0.096567 | 0.3678 | 623873952000 |  | 18.7742 | 0.079985 | 0.20835 | 623654304000 |  | 29.0909 | 0.070541 | 0.15297 | 623594400000 |  | 34.1899 | 0.07041 | 0.13603 | 623591280000
Foil 8 | 7.5567 | 0.10767 | 0.37959 | 623855232000 |  | 18.5643 | 0.087159 | 0.20989 | 623603136000 |  | 28.9374 | 0.076363 | 0.15352 | 623532000000 |  | 34.0535 | 0.076173 | 0.1364 | 623528256000
Foil 9 | 7.1644 | 0.12057 | 0.39224 | 623832144000 |  | 18.3528 | 0.098279 | 0.21144 | 623550720000 |  | 28.7832 | 0.081849 | 0.15421 | 623463360000 |  | 33.9166 | 0.081589 | 0.13687 | 623457120000
Foil 10 | 6.7586 | 0.1344 | 0.40587 | 623801568000 |  | 18.1399 | 0.097765 | 0.21297 | 623498304000 |  | 28.6284 | 0.086984 | 0.1548 | 623399088000 |  | 33.7794 | 0.086652 | 0.13728 | 623389728000
Mean energy diff (MeV) |  |  | 0.36017 |  |  |  |  | 0.20669 |  |  |  |  | 0.15241 |  |  |  |  | 0.13562
| 10MeV | 1 x 0.01mm Al attenuator between each foil |  | 1E6 events |  | 20MeV | 3 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 30MeV | 4 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 35MeV | 5 x 0.007mm Cu attenuators between each foil |  | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000624000 |  | 20.0001 | 1.0975e-13 |  | 624000000000 |  | 30.0001 | 8.424e-14 |  | 624000000000 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.5842 | 0.037705 | 0.4159 | 623943216000 |  | 19.4958 | 0.053848 | 0.50433 | 623800320000 |  | 29.5523 | 0.048738 | 0.44783 | 623737920000 |  | 34.5343 | 0.051427 | 0.46569 | 623706720000
Foil 3 | 9.1559 | 0.054702 | 0.42824 | 623895168000 |  | 18.9823 | 0.071689 | 0.51347 | 623596272000 |  | 29.101 | 0.071173 | 0.45127 | 623498304000 |  | 34.0637 | 0.073711 | 0.47052 | 623432160000
Foil 4 | 8.7133 | 0.070387 | 0.44262 | 623847744000 |  | 18.4602 | 0.091463 | 0.52206 | 623415312000 |  | 28.6434 | 0.090027 | 0.45763 | 623231856000 |  | 33.5898 | 0.090355 | 0.47396 | 623138256000
Foil 5 | 8.2538 | 0.084779 | 0.45946 | 623797824000 |  | 17.9294 | 0.10349 | 0.53087 | 623212512000 |  | 28.1794 | 0.1011 | 0.46401 | 622987248000 |  | 33.1149 | 0.10955 | 0.47484 | 622866816000
Foil 6 | 7.7748 | 0.098685 | 0.47904 | 623752272000 |  | 17.3883 | 0.12116 | 0.54108 | 623026560000 |  | 27.7088 | 0.126 | 0.47061 | 622741392000 |  | 32.6351 | 0.12483 | 0.47983 | 622586016000
Foil 7 | 7.2742 | 0.11331 | 0.50059 | 623713584000 |  | 16.8349 | 0.13981 | 0.55338 | 622844976000 |  | 27.2316 | 0.13775 | 0.47714 | 622489920000 |  | 32.1496 | 0.1481 | 0.48554 | 622306464000
Foil 8 | 6.7508 | 0.12832 | 0.52342 | 623653680000 |  | 16.267 | 0.1507 | 0.56795 | 622664640000 |  | 26.7481 | 0.14922 | 0.48354 | 622227216000 |  | 31.6581 | 0.16563 | 0.49144 | 622008192000
Foil 9 | 6.1998 | 0.14424 | 0.55099 | 623589408000 |  | 15.6817 | 0.16279 | 0.5853 | 622468704000 |  | 26.2584 | 0.16232 | 0.48972 | 621977616000 |  | 31.1604 | 0.17547 | 0.49772 | 621726144000
Foil 10 | 5.612 | 0.16554 | 0.58781 | 623508912000 |  | 15.0763 | 0.18166 | 0.6054 | 622285872000 |  | 25.7622 | 0.17725 | 0.49617 | 621724896000 |  | 30.6557 | 0.19157 | 0.50476 | 621441600000
Mean energy diff (MeV) |  |  | 0.48756 |  |  |  |  | 0.54709 |  |  |  |  | 0.47088 |  |  |  |  | 0.4827
0.01mm foils | 10MeV | No attenuators | 1E6 events |  |  | 20MeV | No attenuators | 1E6 events |  |  | 30MeV | No attenuators | 1E6 events |  |  | 35MeV | No attenuators | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000000000 |  | 20.0001 | 1.0975e-13 |  | 624000000000 |  | 30.0001 | 8.424e-14 |  | 624000000000 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.6406 | 0.035767 | 0.35951 | 623968800000 |  | 19.7773 | 0.030712 | 0.22282 | 623939472000 |  | 29.8332 | 0.030027 | 0.16696 | 623930112000 |  | 34.851 | 0.030043 | 0.14895 | 623929488000
Foil 3 | 9.2718 | 0.051515 | 0.36875 | 623942592000 |  | 19.5524 | 0.046993 | 0.22489 | 623880192000 |  | 29.6656 | 0.042575 | 0.16755 | 623856480000 |  | 34.7015 | 0.042565 | 0.14949 | 623855232000
Foil 4 | 8.8929 | 0.065091 | 0.37888 | 623920128000 |  | 19.3255 | 0.058626 | 0.22689 | 623812176000 |  | 29.4973 | 0.052285 | 0.16827 | 623770992000 |  | 34.5515 | 0.052241 | 0.14999 | 623767872000
Foil 5 | 8.5027 | 0.077648 | 0.39023 | 623903904000 |  | 19.0966 | 0.065533 | 0.22888 | 623737296000 |  | 29.3284 | 0.060509 | 0.16895 | 623691120000 |  | 34.4011 | 0.060408 | 0.15044 | 623688000000
Foil 6 | 8.0998 | 0.091162 | 0.40285 | 623883936000 |  | 18.8658 | 0.08243 | 0.23086 | 623671776000 |  | 29.1587 | 0.067861 | 0.16972 | 623620608000 |  | 34.2501 | 0.06769 | 0.15099 | 623616864000
Foil 7 | 7.683 | 0.10424 | 0.41683 | 623863344000 |  | 18.6331 | 0.078737 | 0.23264 | 623619984000 |  | 28.9882 | 0.074534 | 0.17045 | 623553840000 |  | 34.0986 | 0.074301 | 0.15147 | 623550096000
Foil 8 | 7.2509 | 0.11839 | 0.43214 | 623842752000 |  | 18.3984 | 0.092595 | 0.23467 | 623560704000 |  | 28.8171 | 0.080717 | 0.17114 | 623477712000 |  | 33.9467 | 0.080433 | 0.15194 | 623471472000
Foil 9 | 6.8022 | 0.13505 | 0.44869 | 623810928000 |  | 18.1619 | 0.092825 | 0.23655 | 623507040000 |  | 28.6451 | 0.086538 | 0.17198 | 623402208000 |  | 33.7941 | 0.086222 | 0.15254 | 623399712000
Foil 10 | 6.3342 | 0.14971 | 0.46794 | 623764128000 |  | 17.9232 | 0.10207 | 0.2387 | 623444016000 |  | 28.4724 | 0.092008 | 0.17273 | 623325456000 |  | 33.6411 | 0.092314 | 0.15304 | 623319216000
Mean energy diff (MeV) |  |  | 0.40731 |  |  |  |  | 0.23077 |  |  |  |  | 0.16975 |  |  |  |  | 0.15098
| 10MeV | 1 x 0.01mm Al attenuator between each foil |  | 1E6 events |  | 20MeV | 3 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 30MeV | 4 x 0.007mm Cu attenuators between each foil |  | 1E6 events |  | 35MeV | 5 x 0.007mm Cu attenuators between each foil |  | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | [5 empty] | 20.0001 | 1.0975e-13 |  | 624000624000 |  | 30.0001 | 8.424e-14 |  | 624000000000 |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 |  |  | 0 |  |  | 19.4726 | 0.056181 | 0.52752 | 623792208000 |  | 29.5358 | 0.049544 | 0.46431 | 623729184000 |  | 34.5192 | 0.052344 | 0.48077 | 623698608000
Foil 3 |  |  | 0 |  |  | 18.9355 | 0.082024 | 0.53707 | 623588784000 |  | 29.0672 | 0.075337 | 0.46863 | 623478336000 |  | 34.0333 | 0.075086 | 0.48591 | 623417184000
Foil 4 |  |  | 0 |  |  | 18.3892 | 0.087238 | 0.54633 | 623390976000 |  | 28.5918 | 0.086232 | 0.47541 | 623205024000 |  | 33.5448 | 0.091884 | 0.48851 | 623110176000
Foil 5 |  | Attenuators not | 0 |  |  | 17.8327 | 0.10799 | 0.55644 | 623184432000 |  | 28.1094 | 0.1046 | 0.48236 | 622960416000 |  | 33.0539 | 0.11156 | 0.49088 | 622844352000
Foil 6 |  | necessary | 0 |  |  | 17.2648 | 0.12299 | 0.56793 | 623001600000 |  | 27.6201 | 0.12218 | 0.4893 | 622696464000 |  | 32.5576 | 0.12663 | 0.49625 | 622556688000
Foil 7 |  |  | 0 |  |  | 16.6829 | 0.13911 | 0.58195 | 622811280000 |  | 27.1238 | 0.13374 | 0.49636 | 622441248000 |  | 32.0552 | 0.14518 | 0.50242 | 622250304000
Foil 8 |  |  | 0 |  |  | 16.0841 | 0.1522 | 0.59871 | 622617216000 |  | 26.6205 | 0.1541 | 0.50326 | 622167936000 |  | 31.5465 | 0.15815 | 0.50872 | 621963264000
Foil 9 |  |  | 0 |  |  | 15.4656 | 0.17448 | 0.61854 | 622434384000 |  | 26.1106 | 0.17477 | 0.50992 | 621918960000 |  | 31.0308 | 0.17922 | 0.51571 | 621672480000
Foil 10 |  |  | 0 |  |  | 14.8246 | 0.18732 | 0.641 | 622232208000 |  | 25.5939 | 0.18125 | 0.5167 | 621661872000 |  | 30.5076 | 0.18865 | 0.52315 | 621373584000
Mean energy diff (MeV) |  |  | 0 |  |  |  |  | 0.57505 |  |  |  |  | 0.48958 |  |  |  |  | 0.49915

## Tantalum
| 10 MeV | 1E3 events | No atten |  |  |  | 20MeV | No attenuators | 1E3 events |  |  |  | 30MeV | No attenuators | 1E3 events |  |  |  | 35MeV | No attenuators | 1E3 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  |  | 10 foils | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 8.2335e-15 |  | 624000000000 |  |  | 20.0001 | 0 |  | 624000000000 |  |  | 30.0001 | 2.106e-14 |  | 624000000000 |  |  | 35 | 1.5107e-14 |  | 624000000000
Foil 2 | 9.7508 | 0.028353 | 0.2493 | 624000000000 |  |  | 19.8472 | 0.024534 | 0.15292 | 624000000000 |  |  | 29.886 | 0.024128 | 0.11416 | 624000000000 |  |  | 34.8983 | 0.024188 | 0.10164 | 624000000000
Foil 3 | 9.4953 | 0.040034 | 0.25548 | 624000000000 |  |  | 19.6924 | 0.034531 | 0.15483 | 624000000000 |  |  | 29.7697 | 0.034516 | 0.11628 | 624000000000 |  |  | 34.7946 | 0.034594 | 0.10369 | 624000000000
Foil 4 | 9.2372 | 0.050008 | 0.25807 | 624000000000 |  |  | 19.5358 | 0.043029 | 0.1566 | 624000000000 |  |  | 29.6534 | 0.042845 | 0.11632 | 624000000000 |  |  | 34.6909 | 0.042922 | 0.10373 | 624000000000
Foil 5 | 8.9735 | 0.059129 | 0.26373 | 624000000000 |  |  | 19.3799 | 0.049897 | 0.15582 | 624000000000 |  |  | 29.5375 | 0.049782 | 0.11586 | 624000000000 |  |  | 34.5874 | 0.050287 | 0.10348 | 624000000000
Foil 6 | 8.7057 | 0.06596 | 0.26778 | 624000000000 |  |  | 19.2229 | 0.056086 | 0.15706 | 624000000000 |  |  | 29.4219 | 0.0554 | 0.1156 | 624000000000 |  |  | 34.4847 | 0.055399 | 0.10268 | 624000000000
Foil 7 | 8.4301 | 0.073338 | 0.27563 | 624000000000 |  |  | 19.0642 | 0.062141 | 0.1587 | 624000000000 |  |  | 29.3054 | 0.060184 | 0.11648 | 624000000000 |  |  | 34.3808 | 0.059786 | 0.10388 | 624000000000
Foil 8 | 8.1481 | 0.081228 | 0.28201 | 624000000000 |  |  | 18.9046 | 0.067302 | 0.15951 | 624000000000 |  |  | 29.1876 | 0.063987 | 0.11782 | 624000000000 |  |  | 34.2756 | 0.063958 | 0.10521 | 624000000000
Foil 9 | 7.8594 | 0.088271 | 0.28872 | 624000000000 |  |  | 18.7445 | 0.072045 | 0.1602 | 624000000000 |  |  | 29.071 | 0.068371 | 0.11658 | 624000000000 |  |  | 34.1714 | 0.068562 | 0.10422 | 624000000000
Foil 10 | 7.5642 | 0.095766 | 0.29519 | 624000000000 |  |  | 18.5825 | 0.077568 | 0.16196 | 624000000000 |  |  | 28.9526 | 0.072455 | 0.11841 | 624000000000 |  |  | 34.0658 | 0.072898 | 0.10559 | 624000000000
Mean energy diff (MeV) |  |  | 0.27066 | [5 empty] | 0.15751 | [5 empty] | 0.11639 | [5 empty] | 0.10379
| 10 MeV | 1E6 events | No atten |  |  |  | 20MeV | No attenuators | 1E6 events |  |  |  | 30MeV | No attenuators | 1E6 events |  |  |  | 35MeV | No attenuators | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  |  | 10 foils | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) |  |  | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000000000 |  |  | 20.0001 | 1.0975e-13 |  | 624000000000 |  |  | 30.0001 | 8.424e-14 |  | 624000000000 |  |  | 35 | 1.0575e-13 |  | 624000000000
Foil 2 | 9.7499 | 0.029151 | 0.25022 | 623978160000 |  |  | 19.8455 | 0.025309 | 0.15457 | 623955072000 |  |  | 29.8842 | 0.033756 | 0.11595 | 623950080000 |  |  | 34.8966 | 0.025008 | 0.10336 | 623948208000
Foil 3 | 9.4954 | 0.042061 | 0.25446 | 623958192000 |  |  | 19.6901 | 0.037471 | 0.15542 | 623916384000 |  |  | 29.768 | 0.043188 | 0.11617 | 623905152000 |  |  | 34.7929 | 0.035419 | 0.10366 | 623903904000
Foil 4 | 9.2364 | 0.053449 | 0.25898 | 623943216000 |  |  | 19.5338 | 0.053914 | 0.1563 | 623873952000 |  |  | 29.6515 | 0.05153 | 0.11648 | 623850864000 |  |  | 34.6891 | 0.043426 | 0.10386 | 623848368000
Foil 5 | 8.9725 | 0.062373 | 0.26391 | 623926992000 |  |  | 19.3766 | 0.056814 | 0.1572 | 623827776000 |  |  | 29.5347 | 0.05949 | 0.11682 | 623790336000 |  |  | 34.585 | 0.050199 | 0.10408 | 623787840000
Foil 6 | 8.7032 | 0.071382 | 0.26927 | 623915760000 |  |  | 19.2184 | 0.059581 | 0.15815 | 623772864000 |  |  | 29.4175 | 0.056293 | 0.11716 | 623730432000 |  |  | 34.4806 | 0.056234 | 0.10438 | 623728560000
Foil 7 | 8.4281 | 0.079377 | 0.27513 | 623902032000 |  |  | 19.0593 | 0.06931 | 0.1591 | 623722320000 |  |  | 29.3 | 0.061788 | 0.11753 | 623673648000 |  |  | 34.376 | 0.061687 | 0.10458 | 623671776000
Foil 8 | 8.1465 | 0.088442 | 0.28158 | 623886432000 |  |  | 18.8993 | 0.075891 | 0.16005 | 623677392000 |  |  | 29.1822 | 0.066883 | 0.11786 | 623632464000 |  |  | 34.2712 | 0.066729 | 0.1048 | 623628720000
Foil 9 | 7.858 | 0.098397 | 0.28856 | 623876448000 |  |  | 18.7383 | 0.075358 | 0.16101 | 623641200000 |  |  | 29.0639 | 0.071644 | 0.11826 | 623578176000 |  |  | 34.1661 | 0.071424 | 0.10509 | 623578176000
Foil 10 | 7.562 | 0.10858 | 0.29598 | 623856480000 |  |  | 18.5762 | 0.081072 | 0.16209 | 623598768000 |  |  | 28.9453 | 0.076108 | 0.1186 | 623531376000 |  |  | 34.0608 | 0.075873 | 0.10532 | 623529504000
Mean energy diff (MeV) |  |  | 0.2709 | [5 empty] | 0.15821 | [5 empty] | 0.1172 | [5 empty] | 0.10435
| 10 MeV | 1E3 events | 1 x 0.007mm Cu attenuator |  |  |  | 20MeV | 3 x 0.007 mm Cu attentuators between each Ta sheet |  | 1E3 events |  |  | 30MeV | 4 x 0.007 mm Cu attentuators between each Ta sheet |  |  | 1E3 events |  | 35 MeV | 4 x 0.007 mm Cu attentuators between each Ta sheet |  | 1E3 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) | Energy exiting foil (MeV) | Energy attenuation in foil (MeV) | 10 foils | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) | Energy exiting foil (MeV) | Energy attenuation in foil (MeV) | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) | Energy exiting foil (MeV) | Energy attenuation in foil (MeV) | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) | Energy exiting foil (MeV) | Energy attenuation in foil (MeV)
Foil 1 | 10.0001 | 8.2335e-15 |  | 624000000000 | 9.7486 | 0.2515 | 20.0001 | 0 |  | 624000000000 | 19.8462 | 0.15394 | 30.0001 | 2.106e-14 |  | 624000000000 | 29.8849 | 0.11518 | 35 | 1.5107e-14 |  | 624000000000 | 34.8974 | 0.1026
Foil 2 | 9.5802 | 0.035416 | 0.41983 | 624000000000 | 9.3206 | 0.25964 | 19.5448 | 0.040578 | 0.45527 | 624000000000 | 19.3863 | 0.15857 | 29.5905 | 0.042777 | 0.40961 | 624000000000 | 29.4725 | 0.11801 | 34.6356 | 0.043188 | 0.36439 | 624000000000 | 34.5301 | 0.10542
Foil 3 | 9.1467 | 0.049815 | 0.43352 | 624000000000 | 8.8761 | 0.27062 | 19.0811 | 0.058655 | 0.46373 | 624000000000 | 18.9193 | 0.16176 | 29.178 | 0.060889 | 0.41256 | 624000000000 | 29.0593 | 0.11868 | 34.2663 | 0.060834 | 0.36922 | 624000000000 | 34.161 | 0.10534
Foil 4 | 8.6995 | 0.063593 | 0.44721 | 624000000000 | 8.4174 | 0.28208 | 18.6113 | 0.070138 | 0.46978 | 624000000000 | 18.4435 | 0.16777 | 28.759 | 0.073379 | 0.41893 | 624000000000 | 28.6356 | 0.12346 | 33.8947 | 0.073599 | 0.37167 | 624000000000 | 33.7846 | 0.11006
Foil 5 | 8.2352 | 0.075938 | 0.4643 | 624000000000 | 7.9397 | 0.29551 | 18.1325 | 0.084074 | 0.47882 | 624000000000 | 17.9618 | 0.17067 | 28.3332 | 0.088319 | 0.42586 | 623376000000 | 28.209 | 0.12415 | 33.5172 | 0.087229 | 0.37748 | 623376000000 | 33.4071 | 0.11008
Foil 6 | 7.7486 | 0.088004 | 0.48664 | 624000000000 | 7.4378 | 0.31081 | 17.6465 | 0.095681 | 0.48598 | 623376000000 | 17.4713 | 0.17524 | 27.9024 | 0.10034 | 0.43072 | 622128000000 | 27.7752 | 0.12719 | 33.1381 | 0.098346 | 0.37913 | 622128000000 | 33.0255 | 0.11253
Foil 7 | 7.236 | 0.099783 | 0.51258 | 624000000000 | 6.9124 | 0.32364 | 17.1493 | 0.10505 | 0.49725 | 622128000000 | 16.9731 | 0.1762 | 27.4637 | 0.11294 | 0.43873 | 622128000000 | 27.3355 | 0.12825 | 32.7527 | 0.10897 | 0.38537 | 622128000000 | 32.6402 | 0.11245
Foil 8 | 6.6993 | 0.11131 | 0.53669 | 624000000000 | 6.3571 | 0.3422 | 16.6441 | 0.1158 | 0.50514 | 622128000000 | 16.4623 | 0.18188 | 27.0213 | 0.12404 | 0.44238 | 622128000000 | 26.8878 | 0.13355 | 32.3667 | 0.11999 | 0.38604 | 622128000000 | 32.2493 | 0.11739
Foil 9 | 6.1294 | 0.12794 | 0.56991 | 624000000000 | 5.7663 | 0.36306 | 16.1266 | 0.12736 | 0.51756 | 622128000000 | 15.9391 | 0.18752 | 26.5756 | 0.13565 | 0.44569 | 621504000000 | 26.441 | 0.13459 | 31.9775 | 0.13029 | 0.38915 | 622128000000 | 31.8597 | 0.11783
Foil 10 | 5.522 | 0.14781 | 0.60735 | 624000000000 | 5.1296 | 0.39239 | 15.5928 | 0.1405 | 0.53378 | 622128000000 | 15.3987 | 0.19412 | 26.1209 | 0.14846 | 0.45469 | 621504000000 | 25.9843 | 0.13667 | 31.5834 | 0.14088 | 0.39407 | 621504000000 | 31.4634 | 0.12001
Mean energy diff (MeV) |  |  | 0.49756 | [5 empty] | 0.4897 | [5 empty] | 0.43102 | [5 empty] | 0.37961
| 10 MeV | 1E6 events | 1 x 0.007mm Cu attenuator |  |  |  | 20MeV | 3 x 0.007 mm Cu attentuators between each Ta sheet |  | 1E6 events |  |  | 30MeV | 4 x 0.007 mm Cu attentuators between each Ta sheet |  |  | 1E6 events |  | 35 MeV | 4 x 0.007 mm Cu attentuators between each Ta sheet |  | 1E6 events
| E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) | Energy exiting foil (MeV) | Energy attenuation in foil (MeV) | 10 foils | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) | Energy exiting foil (MeV) | Energy attenuation in foil (MeV) | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) | Energy exiting foil (MeV) | Energy attenuation in foil (MeV) | E in - 10 foils (MeV) | Unc | Energy diff (MeV) | Flux entering foil (cm-2 s-1) | Energy exiting foil (MeV) | Energy attenuation in foil (MeV)
Foil 1 | 10.0001 | 4.5284e-14 |  | 624000000000 | 9.7482 | 0.25183 | 20.0001 | 6.7328e-14 |  | 624000000000 | 19.8445 | 0.15555 | 30.0001 | 8.424e-14 |  | 624000000000 | 29.8835 | 0.11664 | 35 | 1.0575e-13 |  | 624000000000 | 34.896 | 0.104
Foil 2 | 9.5772 | 0.035307 | 0.42285 | 623948832000 | 9.3178 | 0.25942 | 19.5415 | 0.046953 | 0.45856 | 623822784000 | 19.3831 | 0.15841 | 29.5864 | 0.047034 | 0.41367 | 623757264000 | 29.4685 | 0.11796 | 34.6314 | 0.04571 | 0.36854 | 623770368000 | 34.5264 | 0.10504
Foil 3 | 9.1422 | 0.052998 | 0.43504 | 623908272000 | 8.8741 | 0.26803 | 19.0761 | 0.067068 | 0.46538 | 623632464000 | 18.9146 | 0.1615 | 29.1706 | 0.077921 | 0.41585 | 623528256000 | 29.0512 | 0.11939 | 34.2599 | 0.065301 | 0.37156 | 623551968000 | 34.1538 | 0.10611
Foil 4 | 8.6926 | 0.067623 | 0.44954 | 623871456000 | 8.4146 | 0.27803 | 18.6038 | 0.086254 | 0.4724 | 623452752000 | 18.4391 | 0.16468 | 28.7494 | 0.083063 | 0.42123 | 623278656000 | 28.6284 | 0.12098 | 33.8851 | 0.093002 | 0.37475 | 623320464000 | 33.7779 | 0.10718
Foil 5 | 8.2253 | 0.081173 | 0.46731 | 623825904000 | 7.9357 | 0.28959 | 18.1241 | 0.10445 | 0.47969 | 623266800000 | 17.956 | 0.1681 | 28.3225 | 0.10026 | 0.42683 | 623046528000 | 28.2 | 0.12255 | 33.5073 | 0.1009 | 0.37782 | 623094576000 | 33.3989 | 0.10837
Foil 6 | 7.7369 | 0.09575 | 0.48846 | 623786592000 | 7.4343 | 0.30259 | 17.6362 | 0.11613 | 0.48784 | 623083344000 | 17.4646 | 0.17166 | 27.8901 | 0.11022 | 0.43241 | 622811280000 | 27.7659 | 0.12422 | 33.1262 | 0.10888 | 0.38107 | 622871808000 | 33.0167 | 0.10947
Foil 7 | 7.2245 | 0.1117 | 0.51236 | 623737296000 | 6.9078 | 0.31673 | 17.1388 | 0.12981 | 0.49747 | 622915488000 | 16.9652 | 0.17354 | 27.4519 | 0.12617 | 0.4382 | 622573536000 | 27.3261 | 0.1258 | 32.7416 | 0.12513 | 0.38457 | 622648416000 | 32.6311 | 0.1105
Foil 8 | 6.6864 | 0.12757 | 0.53807 | 623686752000 | 6.3531 | 0.33332 | 16.6318 | 0.15071 | 0.5069 | 622739520000 | 16.4549 | 0.17697 | 27.0082 | 0.13853 | 0.44371 | 622337040000 | 26.8806 | 0.12757 | 32.3537 | 0.12994 | 0.38797 | 622431264000 | 32.2419 | 0.11176
Foil 9 | 6.1177 | 0.14703 | 0.56877 | 623628096000 | 5.7627 | 0.35497 | 16.1127 | 0.16445 | 0.51913 | 622558560000 | 15.9309 | 0.18183 | 26.5592 | 0.14835 | 0.449 | 622081824000 | 26.4297 | 0.12952 | 31.9622 | 0.14613 | 0.3915 | 622192896000 | 31.8491 | 0.11304
Foil 10 | 5.5092 | 0.16651 | 0.60845 | 623541360000 | 5.1265 | 0.38268 | 15.5784 | 0.17013 | 0.53429 | 622384464000 | 15.3909 | 0.18757 | 26.1046 | 0.16515 | 0.45456 | 621843456000 | 25.9733 | 0.13137 | 31.567 | 0.15486 | 0.39522 | 621973872000 | 31.4526 | 0.11438
Mean energy diff (MeV) |  |  | 0.49898 | [5 empty] | 0.49129 | [5 empty] | 0.43283 | [5 empty] | 0.38144

## Self Attenuation - G4BL
Tungsten (0.025mm) | 1x10^7 photons | Isotropic from centre
Energy (keV) | log E | Front detector count | Back detector count | Side detector count | Total | Attenuation %
10 | 2.3026 | 4983244 | 4986593 | 1915 | 9971752 | 0.28248
20 | 2.9957 | 4977714 | 4981182 | 1866 | 9960762 | 0.39238
30 | 3.4012 | 4974310 | 4977784 | 1838 | 9953932 | 0.46068
40 | 3.6889 | 4971914 | 4975416 | 1798 | 9949128 | 0.50872
50 | 3.912 | 4970114 | 4973604 | 1775 | 9945493 | 0.54507
60 | 4.0943 | 4968716 | 4972161 | 1756 | 9942633 | 0.57367
70 | 4.2485 | 4967527 | 4970890 | 1729 | 9940146 | 0.59854
80 | 4.382 | 4966458 | 4969952 | 1710 | 9938120 | 0.6188
90 | 4.4998 | 4965548 | 4969095 | 1690 | 9936333 | 0.63667
100 | 4.6052 | 4964710 | 4968245 | 1664 | 9934619 | 0.65381
200 | 5.2983 | 4958209 | 4961661 | 1579 | 9921449 | 0.78551
300 | 5.7038 | 4954751 | 4958089 | 1510 | 9914350 | 0.8565
400 | 5.9915 | 4952335 | 4955676 | 1482 | 9909493 | 0.90507
500 | 6.2146 | 4950489 | 4953872 | 1452 | 9905813 | 0.94187
600 | 6.3969 | 4948977 | 4952433 | 1415 | 9902825 | 0.97175
700 | 6.5511 | 4947871 | 4951210 | 1387 | 9900468 | 0.99532
800 | 6.6846 | 4946797 | 4950155 | 1373 | 9898325 | 1.0168
900 | 6.8024 | 4945895 | 4949236 | 1353 | 9896484 | 1.0352
1000 | 6.9078 | 4945112 | 4948392 | 1337 | 9894841 | 1.0516
1100 | 7.0031 | 4944387 | 4947642 | 1329 | 9893358 | 1.0664
1200 | 7.0901 | 4943707 | 4947013 | 1319 | 9892039 | 1.0796
1300 | 7.1701 | 4943105 | 4946416 | 1306 | 9890827 | 1.0917
1400 | 7.2442 | 4942551 | 4945868 | 1297 | 9889716 | 1.1028
1500 | 7.3132 | 4942021 | 4945369 | 1296 | 9888686 | 1.1131
1600 | 7.3778 | 4941571 | 4944938 | 1288 | 9887797 | 1.122
1700 | 7.4384 | 4941160 | 4944534 | 1281 | 9886975 | 1.1303
1800 | 7.4955 | 4940780 | 4944126 | 1272 | 9886178 | 1.1382
1900 | 7.5496 | 4940416 | 4943722 | 1266 | 9885404 | 1.146
2000 | 7.6009 | 4940049 | 4943381 | 1255 | 9884685 | 1.1531
Tantalum (0.008mm) | 1x10^7 photons | Isotropic from centre
Energy (keV) | log E | Front detector count | Back detector count | Side detector count | Total | Attenuation %
10 | 2.3026 | 4992953 | 4996065 | 2012 | 9991030 | 0.0897
20 | 2.9957 | 4991198 | 4994302 | 1995 | 9987495 | 0.12505
30 | 3.4012 | 4990170 | 4993165 | 1958 | 9985293 | 0.14707
40 | 3.6889 | 4989365 | 4992449 | 1922 | 9983736 | 0.16264
50 | 3.912 | 4988831 | 4991857 | 1890 | 9982578 | 0.17422
60 | 4.0943 | 4988396 | 4991394 | 1859 | 9981649 | 0.18351
70 | 4.2485 | 4988038 | 4991039 | 1848 | 9980925 | 0.19075
80 | 4.382 | 4987713 | 4990744 | 1828 | 9980285 | 0.19715
90 | 4.4998 | 4987489 | 4990484 | 1811 | 9979784 | 0.20216
100 | 4.6052 | 4987208 | 4990201 | 1796 | 9979205 | 0.20795
200 | 5.2983 | 4985016 | 4988082 | 1723 | 9974821 | 0.25179
300 | 5.7038 | 4983820 | 4986972 | 1663 | 9972455 | 0.27545
400 | 5.9915 | 4983047 | 4986194 | 1629 | 9970870 | 0.2913
500 | 6.2146 | 4982427 | 4985616 | 1599 | 9969642 | 0.30358
600 | 6.3969 | 4981978 | 4985120 | 1573 | 9968671 | 0.31329
700 | 6.5511 | 4981640 | 4984704 | 1549 | 9967893 | 0.32107
800 | 6.6846 | 4981300 | 4984383 | 1535 | 9967218 | 0.32782
900 | 6.8024 | 4981017 | 4984113 | 1527 | 9966657 | 0.33343
1000 | 6.9078 | 4980719 | 4983862 | 1514 | 9966095 | 0.33905
1100 | 7.0031 | 4980482 | 4983642 | 1504 | 9965628 | 0.34372
1200 | 7.0901 | 4980286 | 4983438 | 1494 | 9965218 | 0.34782
1300 | 7.1701 | 4980106 | 4983240 | 1485 | 9964831 | 0.35169
1400 | 7.2442 | 4979920 | 4983065 | 1468 | 9964453 | 0.35547
1500 | 7.3132 | 4979768 | 4982898 | 1459 | 9964125 | 0.35875
1600 | 7.3778 | 4979612 | 4982746 | 1447 | 9963805 | 0.36195
1700 | 7.4384 | 4979493 | 4982614 | 1442 | 9963549 | 0.36451
1800 | 7.4955 | 4979355 | 4982459 | 1431 | 9963245 | 0.36755
1900 | 7.5496 | 4979216 | 4982326 | 1420 | 9962962 | 0.37038
2000 | 7.6009 | 4979074 | 4982229 | 1414 | 9962717 | 0.37283
Tungsten (0.01mm) | 1x10^7 photons | Isotropic from centre
Energy (keV) | log E | Front detector count | Back detector count | Side detector count | Total | Attenuation %
10 | 2.3026 | 4991094 | 4994307 | 1909 | 9987310 | 0.1269
20 | 2.9957 | 4988652 | 4991844 | 1861 | 9982357 | 0.17643
30 | 3.4012 | 4987193 | 4990300 | 1834 | 9979327 | 0.20673
40 | 3.6889 | 4986046 | 4989217 | 1797 | 9977060 | 0.2294
50 | 3.912 | 4985248 | 4988431 | 1772 | 9975451 | 0.24549
60 | 4.0943 | 4984621 | 4987749 | 1749 | 9974119 | 0.25881
70 | 4.2485 | 4984070 | 4987238 | 1726 | 9973034 | 0.26966
80 | 4.382 | 4983628 | 4986818 | 1706 | 9972152 | 0.27848
90 | 4.4998 | 4983172 | 4986421 | 1683 | 9971276 | 0.28724
100 | 4.6052 | 4982775 | 4986033 | 1662 | 9970470 | 0.2953
200 | 5.2983 | 4979825 | 4983081 | 1575 | 9964481 | 0.35519
300 | 5.7038 | 4978215 | 4981473 | 1507 | 9961195 | 0.38805
400 | 5.9915 | 4977105 | 4980331 | 1480 | 9958916 | 0.41084
500 | 6.2146 | 4976313 | 4979548 | 1449 | 9957310 | 0.4269
600 | 6.3969 | 4975637 | 4978812 | 1415 | 9955864 | 0.44136
700 | 6.5511 | 4975062 | 4978282 | 1383 | 9954727 | 0.45273
800 | 6.6846 | 4974616 | 4977850 | 1371 | 9953837 | 0.46163
900 | 6.8024 | 4974205 | 4977402 | 1353 | 9952960 | 0.4704
1000 | 6.9078 | 4973843 | 4977024 | 1335 | 9952202 | 0.47798
1100 | 7.0031 | 4973521 | 4976719 | 1329 | 9951569 | 0.48431
1200 | 7.0901 | 4973218 | 4976432 | 1319 | 9950969 | 0.49031
1300 | 7.1701 | 4972940 | 4976170 | 1306 | 9950416 | 0.49584
1400 | 7.2442 | 4972682 | 4975904 | 1297 | 9949883 | 0.50117
1500 | 7.3132 | 4972472 | 4975678 | 1296 | 9949446 | 0.50554
1600 | 7.3778 | 4972278 | 4975452 | 1288 | 9949018 | 0.50982
1700 | 7.4384 | 4972065 | 4975246 | 1281 | 9948592 | 0.51408
1800 | 7.4955 | 4971862 | 4975062 | 1272 | 9948196 | 0.51804
1900 | 7.5496 | 4971690 | 4974894 | 1266 | 9947850 | 0.5215
2000 | 7.6009 | 4971537 | 4974723 | 1255 | 9947515 | 0.52485
Tungsten (0.001mm) | 1x10^7 photons | Isotropic from centre
Energy (keV) | log E | Front detector count | Back detector count | Side detector count | Total | Attenuation %
10 | 2.3026 | 4996732 | 4999495 | 2175 | 9998402 | 0.01598
20 | 2.9957 | 4996399 | 4999191 | 2149 | 9997739 | 0.02261
30 | 3.4012 | 4996211 | 4998989 | 2125 | 9997325 | 0.02675
40 | 3.6889 | 4996074 | 4998838 | 2097 | 9997009 | 0.02991
50 | 3.912 | 4995965 | 4998765 | 2086 | 9996816 | 0.03184
60 | 4.0943 | 4995885 | 4998696 | 2061 | 9996642 | 0.03358
70 | 4.2485 | 4995820 | 4998636 | 2041 | 9996497 | 0.03503
80 | 4.382 | 4995779 | 4998584 | 2023 | 9996386 | 0.03614
90 | 4.4998 | 4995733 | 4998537 | 2002 | 9996272 | 0.03728
100 | 4.6052 | 4995678 | 4998483 | 1986 | 9996147 | 0.03853
200 | 5.2983 | 4995300 | 4998122 | 1943 | 9995365 | 0.04635
300 | 5.7038 | 4995113 | 4997927 | 1901 | 9994941 | 0.05059
400 | 5.9915 | 4994986 | 4997790 | 1874 | 9994650 | 0.0535
500 | 6.2146 | 4994898 | 4997707 | 1837 | 9994442 | 0.05558
600 | 6.3969 | 4994812 | 4997620 | 1808 | 9994240 | 0.0576
700 | 6.5511 | 4994748 | 4997555 | 1787 | 9994090 | 0.0591
800 | 6.6846 | 4994673 | 4997497 | 1771 | 9993941 | 0.06059
900 | 6.8024 | 4994622 | 4997443 | 1760 | 9993825 | 0.06175
1000 | 6.9078 | 4994562 | 4997389 | 1748 | 9993699 | 0.06301
1100 | 7.0031 | 4994520 | 4997350 | 1741 | 9993611 | 0.06389
1200 | 7.0901 | 4994483 | 4997304 | 1736 | 9993523 | 0.06477
1300 | 7.1701 | 4994453 | 4997266 | 1728 | 9993447 | 0.06553
1400 | 7.2442 | 4994429 | 4997235 | 1715 | 9993379 | 0.06621
1500 | 7.3132 | 4994395 | 4997199 | 1706 | 9993300 | 0.067
1600 | 7.3778 | 4994357 | 4997173 | 1701 | 9993231 | 0.06769
1700 | 7.4384 | 4994338 | 4997160 | 1698 | 9993196 | 0.06804
1800 | 7.4955 | 4994317 | 4997136 | 1689 | 9993142 | 0.06858
1900 | 7.5496 | 4994292 | 4997113 | 1683 | 9993088 | 0.06912
2000 | 7.6009 | 4994263 | 4997097 | 1676 | 9993036 | 0.06964

## Self Attenuation - OpenMC
Tantalum (0.008mm) | 1x10^7 photons | Isotropic from centre
Energy (keV) | Detector count (Corrected current) | Attenuation %
10 | 958800 | 90.412
20 | 4155500 | 58.445
30 | 6803400 | 31.966
40 | 8117700 | 18.823
50 | 8802300 | 11.977
60 | 9190000 | 8.1
70 | 9505000 | 4.95
80 | 9623100 | 3.769
90 | 9706600 | 2.934
100 | 9767200 | 2.328
200 | 9959700 | 0.403
300 | 9989500 | 0.105
400 | 9998100 | 0.019
500 | 10000000 | 0
600 | 10000000 | 0
700 | 10000000 | 0
800 | 10000000 | 0
900 | 10000000 | 0
1000 | 10000000 | 0
1100 | 10000000 | 0
1200 | 10000000 | 0
1300 | 10000000 | 0
1400 | 10000000 | 0
1500 | 10000000 | 0
1600 | 10000000 | 0
1700 | 10000000 | 0
1800 | 10000000 | 0
1900 | 10000000 | 0
2000 | 10000000 | 0
Tungsten (0.01mm) | 1x10^7 photons | Isotropic from centre
Energy (keV) | Detector count (Corrected current) | Attenuation %
10 | 1743200 | 82.568
20 | 2966500 | 70.335
30 | 5849500 | 41.505
40 | 7465600 | 25.344
50 | 8353500 | 16.465
60 | 8870800 | 11.292
70 | 9248700 | 7.513
80 | 9418400 | 5.816
90 | 9541000 | 4.59
100 | 9631400 | 3.686
200 | 9929500 | 0.705
300 | 9978800 | 0.212
400 | 9993400 | 0.066
500 | 9999500 | 0.005
600 | 10000000 | 0
700 | 10000000 | 0
800 | 10000000 | 0
900 | 10000000 | 0
1000 | 10000000 | 0
1100 | 10000000 | 0
1200 | 10000000 | 0
1300 | 10000000 | 0
1400 | 10000000 | 0
1500 | 10000000 | 0
1600 | 10000000 | 0
1700 | 10000000 | 0
1800 | 10000000 | 0
1900 | 10000000 | 0
2000 | 10000000 | 0
Tungsten (0.001mm) | 1x10^7 photons | Isotropic from centre
Energy (keV) | Detector count (Corrected current) | Attenuation %
10 | 7508700 | 24.913
20 | 8421100 | 15.789
30 | 9303800 | 6.962
40 | 9629900 | 3.701
50 | 9778300 | 2.217
60 | 9856000 | 1.44
70 | 9990100 | 0.099
80 | 9995800 | 0.042
90 | 9998900 | 0.011
100 | 10000000 | 0
200 | 10000000 | 0
300 | 10000000 | 0
400 | 10000000 | 0
500 | 10000000 | 0
600 | 10000000 | 0
700 | 10000000 | 0
800 | 10000000 | 0
900 | 10000000 | 0
1000 | 10000000 | 0
1100 | 10000000 | 0
1200 | 10000000 | 0
1300 | 10000000 | 0
1400 | 10000000 | 0
1500 | 10000000 | 0
1600 | 10000000 | 0
1700 | 10000000 | 0
1800 | 10000000 | 0
1900 | 10000000 | 0
2000 | 10000000 | 0